Suryanagar Refinery, Gujarat

Licensing Compliance Summary

# PESO Explosives and Flammable Storage Licensing Summary

| Document Number | LIC-2026-0003 |
| --- | --- |
| Scope | Internal summary mapping current plant storage licenses for flammable and explosive materials against applicable PESO licensing categories (paraphrased internal reference, not the original regulation text). |
| Review Date | 2026-02-01 |
| Reviewed By | D. Rao (QA / Compliance Officer) |
| Approved By | Plant Safety Committee |
| Linked Documents | General plant storage license register (external system, not attached) |

## 1. Background

Annual internal review of the plant's flammable and petroleum product storage licenses to confirm license validity, capacity coverage, and renewal timelines ahead of the licensing authority's audit cycle.

## 2. Findings

| # | Storage Category | Coverage Status | Renewal Due |
| --- | --- | --- | --- |
| 1 | Naphtha storage (includes V-204 and adjacent tanks) | Valid, capacity within licensed limit | 2027-01 |
| 2 | Fuel gas storage (compressor feed, includes C-110 system) | Valid | 2026-11 |
| 3 | General flammable liquids store (drums, small containers) | Valid, minor capacity margin remaining | 2026-09 |

## 3. Conclusion

All reviewed storage categories currently hold valid licenses within their approved capacity limits. The general flammable liquids store has limited remaining capacity margin and should be monitored ahead of any planned storage expansion.

## 4. Action Items

- Begin renewal paperwork for fuel gas storage license at least 60 days ahead of the November 2026 due date.

- Monitor flammable liquids store capacity utilisation monthly given limited remaining margin.

- No action required for naphtha storage category at this time.

QA / Compliance Officer Sign-off: ____________________   Date: ____________________